| www.doyeninc.com – Office: 706.622.2093 Fax:706.204.8071 |  |
| --- | --- |
| Insurance Co: SAMPLE | Date: SAMPLE | Roof Type: 30 yr. Laminate |
| Adjuster: SAMPLE | Insured: SAMPLE | Age of roof: 10-13 yrs. |
| Claim # SAMPLE | Address: SAMPLE | Interior Damage: N/A |

Notes: See inspector comments below….

| Front Slope- Hail-20+ Wind-0 | FS Notes: We were able to locate 20+ hail impacts within our 10’x10’ test square; this was consistent throughout the entire front slope. We were unable to locate any wind damaged shingles on the front slope. |
| --- | --- |
| Brittle Test- Pass |  |
| Granular Loss- Moderate |  |
| Back Slope- Hail-20+ Wind-0 | BS Notes: We were able to locate 20+ hail impacts within our 10’x10’ test square; this was consistent throughout the entire back slope. We were unable to locate any wind damaged shingle on the back slope. |
| Brittle Test- Pass |  |
| Granular Loss- Moderate |  |

| Roof Accessories/Collateral Damages |
| --- |
|  | 2 pipe boots |
|  | NO DRIP EDGE (drip edge area – 195’ 10” LF) |
|  | 2 exhaust vents (1 @ 8” aluminum) (1 @ 4” aluminum) |
|  | 85’ 10” of 5” aluminum gutters; 40 LF of 4” downspout |
|  | 42’ 6” of 8” aluminum fascia |
|  | 65’ 2” of ridge cap |
|  | 62 LF of shingle over plastic RV |
|  | Re-Stain – 352 LF of 6’ privacy fence; deck walls – 30’ 10” of 6’ deck walls; deck – 590 sq. ft. |
|  | 1 hot tub cover (7’ x 7’) |
|  | Chair covers x 2 |
|  | 1 vinyl window; double pane/double hung (2’ 8” x 4’ 10”) |

Inspector Comments: We were able to locate extensive hail damage to the roof; siding; fascia; 1 vinyl window, the privacy fence needs to be re-stained as well as the deck. There was a hot tub cover that was damaged along with vinyl chair covers.

Inspector: SAMPLE                                                  	Cell: SAMPLE